List of questions for the test in the discipline «Physics, Mathematics»

- What is sound? Characteristics of tones, noises, and sonic booms.

- Objective (physical) characteristics of sound.

- Subjective characteristics of sound, their connection with objective ones.

- The threshold of hearing and the threshold of pain. Their values at a frequency of 1 kHz.

- Weber-Fechner law.

- Air and bone conduction of sound.

- What is audiometry, audiogram?

- Sound research methods: auscultation, percussion, phonocardiography.

- Pulse current. Pulse current parameters.

- Exposure of organs and tissues of the body to direct current.

- The impact of low-frequency pulsed and alternating currents on body tissues.

- Treatment methods and equipment based on the use of low and sound frequency pulsed currents.

- Physical processes occurring in the body's tissues under the influence of high-frequency fields and currents.

- The effect of an alternating electric field on conductors and dielectrics.

- The action of an alternating magnetic field

- UHF therapy. Inductothermy.

- Treatment methods based on the use of ultra-high frequency (UHF) electromagnetic fields.

- CMV therapy (microwave therapy).

- DCV (DMV) - therapy.

- Electrosurgery.

- Treatment with currents of supratonal frequency.

- Darsonvalization.

- How does the resistance of metals and semiconductors depend on temperature and why?

- What is a thermistor? What is its purpose?

- What is the thermistor calibration?

- Describe the structure of a DC bridge. What is called a bridge arm?

- Balanced and unbalanced bridge.

- Derive a formula for determining resistance using a DC bridge.

- How to measure unknown resistance using a bridge circuit?

- Alternating current (definition, graphical dependence of current or voltage on time).

- Active, inductive and capacitive resistance in an AC circuit.

- Impedance of an AC circuit. Resonance. Resonant frequency.

- Why do biological tissues have dielectric and conductive properties?

- Impedance of living and dead tissue. Its components. Impedance vs. frequency graph.

- Equivalent electrical circuit of biological tissue (living and dead).

- Rheography. Biophysical foundations of the rheographic method. What law is the rheographic method based on?

- Rheogram. Draw a rheogram and indicate the areas characteristic of the contraction and relaxation phases of the heart. How will the electrical resistance of an organ or tissue change during the cardiac cycle?

- Clinical significance of the rheography method.

- Sensors of medical and biological information, definition, classification.

- Types of generator sensors and their operating principle.

- Types of parametric sensors and their operating principle.

- Biophysical principles of plethysmography.

- The concept of photoplethysmography.

- Physical principles for determining the velocity of pulse wave propagation.

- Analysis of the factors on which the speed of pulse wave propagation depends.

- Clinical significance of plethysmography.

- The mechanism of formation of the extracellular excitatory potential. What is a biphasic action potential?

- Biophysical principles of electrography. What is an electrogram? Its types. The principle of electrogram recording.

- Electric dipole, its characteristics and properties.

- The heart as an electric dipole. What is an electrocardiogram?

- The concept of the integral electrical vector of the heart (IEV).

- Einthoven's triangle. Standard ECG leads.

- What teeth does the ECG of a healthy person consist of?

- What characterizes the amplitude of the waves and their interval? What does the algebraic sum of the "Q," "R," and "S" waves express?

- Rules for applying electrodes.

- What is light absorption? The formula for Bouguer's law of light absorption and its physical meaning.

- What is the natural absorption rate and what does it depend on?

- The formula of the Bouguer-Lambert-Beer law, its physical meaning.

- What is transmittance, optical density?

- What is concentration colorimetry?

- What physical quantities are measured directly using concentration colorimetry methods?

- The concept of electromyography.

- Biophysical principles of electrography.

- The mechanism of electromyogram formation.

- Medical data acquisition devices. Electrodes.

- Types of electrodes and requirements for them.

- Derivative of a function of one variable: definition, notation, table of derivatives of elementary functions.

- Differential of a function: definition, notation, and formula for finding it. Expressing the derivative of a function in terms of the differentials of the function and its argument.

- Indefinite integral: definition, notation, table of basic integrals.

- The concept of a differential equation: definition, general notation, order of the equation.

- General and particular solutions of differential equations.

- General form of a first-order differential equation with separable variables. Plan for its solution.

- The concept of drawing up differential equations (using an example).

- Basic concepts of probability theory: random event, probability of an event (definition, example). Relative frequency of an event.

- Certain event (definition, example). Probability of a certain event.

- Impossible event (definition, example). Probability of an impossible event.

- Disjoint events. Joint events. (Definition, example).

- Complete system of events (definition, example).

- Opposite events (definition, example).

- Rule of addition of probabilities.

- Consequences following from the rule of addition of probabilities.

- Independent events. Dependent events (definition, example).

- Conditional probability (definition, example).

- The rule of multiplication of probabilities.

- Random variable. Continuous random variable. Discrete random variable.

- Distribution of a discrete random variable and its characteristics: mathematical expectation, variance

- What is mathematical statistics?

- General population. Sample.

- Statistical series. Histogram. Frequency polygon.

- Arithmetic mean of random variables.

- Standard deviation of random variables.

- Error of the arithmetic mean.

- Confidence interval. Confidence probability.

- Recording the final results of the experiment.

- The criterion for the reliability of the difference between the arithmetic means of two samples.

- Correlation analysis, definition.

- Functional relationship, definition, examples.

- Correlation relationship, definition, examples.

- Correlation coefficient, formula, basic properties.

- The criterion of reliability of the correlation coefficient, its purpose.